## Slide 1: Metropolitan Council Environmental Services Minnesota Forum on Trenchless Technology Bloomington, MN April 20, 2011

## Slide 2: Spot Repair of 12” RCP using Link-pipe® Sewer Sealer™ Shorewood, MN March 4, 2011

## Slide 3: Location

## Slide 5
MH 12 2
MH 12 1
MH 12 3

## Slide 6: Access Issues :
  Only access on north end of lake through 20’ easement
  Had to build an “ice road”
  Used snow blowers to remove snow from surface
  Allowed to freeze
  MH’s in area of bulrushes
  Still could not safety drive heavy equipment to sites.
  Used 6X6 Polaris ATV to move people and equipment.

## Slide 10
Eight minute movie showing installation of Link Sealer

## Slide 12: Before MH 12 7 : 5’ downstream

## Slide 13: After MH 12 7 : 5’ downstream

## Slide 14: MH 12 7 : All locks fully engaged

## Slide 15: Available in sizes 6” -54” - www.linkpipe.com

## Slide 16: Questions ?